## Worksheet
Date of log | Subscriber's name | Date of measurements | DEHA (Normal range 0.1 - 0.4) | OXYAMINE dosage in liters | P - Alkalinity in ppm. (Normal range 150-300 ppm) | FOS CONDENSAMINE dosage in liters | Phosphate in ppm | Neutralized conductivity μS/cm | Chloride ( normal range 0-200 ppm CI ) | Makeup water usage in ltr. | Chloride ( Makeup water ) in ppm (reference) | Hardness ( Makeup water ) in ppm (reference) | Blowdown (in sec) | Hotwell temperature (*C) | pH ( Boiler ) | pH ( Hotwell tank Boiler Feedwater normal range 8.5-9.5 ) | pH ( Condensate normal range 8.2-9.2 )
2026-07-31 | Sergei Rozhmanov | 2026-07-31 | 0,16 |  | 190 |  |  |  | 40 | 20 | 20 |  | 60 | 90 | 10,5 | 9 | 8,7
2026-07-30 | Sergei Rozhmanov | 2026-07-29 | 0,16 |  | 190 |  |  |  | 40 | 20 | 20 |  | 60 | 90 | 10,5 | 9 | 8,7
2026-07-27 | Sergei Rozhmanov | 2026-07-27 | 0,16 |  | 190 |  |  |  | 40 | 20 | 20 |  | 60 |  | 10,5 | 9 | 8,7
2026-07-25 | Sergie Rozhmanov | 2026-07-25 | 0,16 |  | 190 |  |  |  | 40 | 20 | 20 |  |  | 90 | 10,5 | 9 | 8,7
2026-07-23 | Sergei Rozhmanov | 2026-07-23 | 0,16 |  | 190 |  |  |  | 40 | 20 | 20 |  | 60 | 90 | 10,5 | 9 | 8,7
2026-07-23 | Sergei Rozhmanov | 2026-07-21 | 0,16 |  | 190 |  |  |  | 40 | 20 | 20 |  |  | 90 | 10,5 | 9 | 8,7
2026-07-23 | Sergei Rozhmanov | 2026-07-19 | 0,16 |  | 190 |  |  |  | 40 | 20 | 20 |  |  | 90 | 10,5 | 9 | 8,7
2026-07-19 | Sergei Rozhmanov | 2026-07-17 | 0,16 |  | 190 |  |  |  | 40 | 20 | 20 |  |  | 90 | 10,5 | 9 | 8,7
2026-07-17 | Sergei Rozhmanov | 2026-07-17 | 0,16 |  | 190 |  |  |  | 40 | 20 | 20 |  | 60 | 90 | 10,5 | 9 | 8,7
2026-07-17 | Sergei Rozhmanov | 2026-07-15 | 0,16 |  | 190 |  |  |  | 40 | 20 | 20 |  | 60 | 85 | 10,5 | 9 | 8,7
2026-07-14 | sergie rozhmanov | 2026-07-13 | 0,16 |  | 190 |  |  |  | 40 | 20 | 20 |  | 60 | 90 | 10,5 | 9 | 8,7
2026-07-12 | Sergei Rozmanov | 2026-07-11 | 0,16 |  | 190 |  |  |  | 40 | 20 | 20 |  | 60 | 90 | 10,5 | 9 | 8,7
2026-07-12 | Sergei Rozmanov | 2026-07-09 | 0,16 |  | 190 |  |  |  | 40 | 20 | 20 |  |  | 90 | 10,5 | 9 | 8,7
2026-07-08 | Sergei Rozhmanov | 2026-07-07 | 0,16 |  | 190 |  |  |  | 40 | 20 | 20 |  |  | 90 | 10,5 | 9 | 8,7
2026-07-05 | Sergei Rozhmanov | 2026-07-05 | 0,16 |  | 190 |  |  |  | 40 | 20 | 20 |  |  | 90 | 10,5 | 9 | 8,7
2026-07-05 | Sergei Rozhmanov | 2026-07-03 | 0,16 |  | 190 |  |  |  | 40 | 20 | 20 |  | 60 | 96 | 10,5 | 9 | 8,7
2026-07-01 | Sergei Rozhmanov | 2026-07-01 | 0,16 |  | 190 |  |  |  | 40 | 20 | 20 |  | 60 | 90 | 10,5 | 9 | 8,7